# FICHE  META_INFORMATION_PARAMETRES

# (à remplir par le responsable du paramètre) / (to be filled by the person in charge of the parameter)

### PARAMETRES CONCERNES / Parameters

Name of the Parameter : Dissolved Ba

### OPERATION & CAMPAGNE & PIs / OPERATION & CAMPAIGN&PIs

Sampling method : Rosette

Station number-Cast number :  1,2,4,8,10,15,17,20,27,30,35,38,43,47,50,55,63,68,81,87,94,97,107,113,114

Operation code :

### PROJET  ETUDE / PROJECT TITLE

Campaign  NAME : KEOPS2

Project Leader: Stéphane Blain (stephane.blain@obs-banyuls.fr)

Address :	Laboratoire d'Océanographie Microbienne (LOMIC)

UMR 7621 CNRS UPMC

avenue du Fontaulé

66650 Banyuls sur mer

Chief Scientist:  Bernard Queguiner (bernard.queguiner@univ-amu.fr)

Address :	Institut Méditerranéen d'Océanographie

Université d'Aix-Marseille

UMR CNRS 7294/UR IRD 235

Campus de Luminy, case 901

F-13288 Marseille Cedex 09

### RESPONSABLE SCIENTIFIQUE du paramètre / PI of the parameter

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # Stéphanie Jacquet | Institut Méditerranéen d'Océanologie (MIO) CNRS UMR 7294 Campus de Luminy, Case 901 162 avenue de Luminy 13288 Marseille Cedex 09 | # 0033 4 91 82 93 37 |  | # stephanie.jacquet@univ-amu.fr |

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été collecté, mesuré et comment / How was the parameter collected and measured (include references for analytical methods)?

Sampling:

Filtered seawater (15 ml) collected from the filtrations for particulate Ba was stored in Polypropylene vials and acidified with Suprapur HCl to pH2. Samples were kept at room temperature till analysis.

Analytical procedure: (briefly, could be a short recall to a published reference):

Isotope Dilution using enriched 135Ba. Analysis per HR-ICP-MS (Element 2 and/or ElementXR, Thermo).  Reference water for sample bracketing are SLRS3, SLRS5 and in house standard ‘OMP’.

Units: nmol/kg

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

Estimated Date of Delivery : middle of 2013; need for final density values

# Estimations des erreurs, précision, sensibilité des données / Error estimates, precision and accuracy of the data

Repeatability:  SLRS-3 RSD of 1.55 % , OMP RSD of 2.75%

Precision 0,3μg/L with RSD o 5%

### REFERENCES BIBLIOGRAPHIQUES

Jacquet S.H.M., F. Dehairs and S. Rintoul (2004). A high resolution transect of dissolved barium

in the Southern Ocean. Geophys. Res. Lett., 31, L14301, doi: 10,1029/2004GL20016

Jacquet S.H.M., F. Dehairs, D. Cardinal, J. Navez and B. Delille (2005). Barium distribution

across the Southern Ocean Frontal system in the Crozet-Kerguelen Basin. Mar. Chem., 95(3-4),

149-162

de Brauwere A., S.H.M. Jacquet, F. De Ridder, F. Dehairs, R. Pintelon, J. schoukens and W.

Baeyens (2007). Water mass distributions in the Southern Ocean derived from a parametric analysis

of mixing water masses. J. of Geophys. Res.Ocean,112,C02021,doi:10;1029/2006JC003742

Jacquet S.H.M., F. Dehairs, M. Elskens, N. Savoye and D. Cardinal (2007). Barium cycling along

WOCE SR3 line in the Southern Ocean. Mar.Chem., 106, 33-45