# FICHE  META_INFORMATION_PARAMETRES

# (à remplir par le responsable du paramètre) / (to be filled by the person in charge of the parameter)

### PARAMETRES CONCERNES / Parameters

Name of the Parameter : Particulate Ba

### OPERATION & CAMPAGNE & PIs / OPERATION & CAMPAIGN&PIs

Sampling method : Rosette

Station number-Cast number :  1,2,4,8,10,15,17,20,27,30,35,38,43,47,50,55,63,68,81,87,94,97,107,113,114

Operation code :

### PROJET  ETUDE / PROJECT TITLE

Campaign  NAME : KEOPS2

Project Leader: Stéphane Blain (stephane.blain@obs-banyuls.fr)

Address :	Laboratoire d'Océanographie Microbienne (LOMIC)

UMR 7621 CNRS UPMC

avenue du Fontaulé

66650 Banyuls sur mer

Chief Scientist:  Bernard Queguiner (bernard.queguiner@univ-amu.fr)

Address :	Institut Méditerranéen d'Océanographie

Université d'Aix-Marseille

UMR CNRS 7294/UR IRD 235

Campus de Luminy, case 901

F-13288 Marseille Cedex 09

### RESPONSABLE SCIENTIFIQUE du paramètre / PI of the parameter

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # Stéphanie Jacquet | Institut Méditerranéen d'Océanologie (MIO) CNRS UMR 7294 Campus de Luminy, Case 901 162 avenue de Luminy 13288 Marseille Cedex 09 | # 0033 4 91 82 93 37 |  | # stephanie.jacquet@univ-amu.fr |

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été collecté, mesuré et comment / How was the parameter collected and measured (include references for analytical methods)?

Sampling:

We sampled between 4 and 10L of seawater from the rosette. Samples were filtered on board (Nuclepore membranes; 0.4 µm; 47 mm). Filters were rinsed with 5 to 10 ml of Milli-Q grade water, dried overnight at 50°C and stored in petri dishes.

Analytical procedure: (briefly, could be a short recall to a published reference):

Acid digestion of the Nuclepore filters (Suprapur HNO3/HCl/HF; 1.5/1/0.5 ml; warming at 90°C); evaporation to dryness and redissolution in 13 ml of 2% HNO3; Analysis per ICP-MS (Element Xseries2) and/or HR-ICP-MS (Element 2 and/or Element XR, Thermo); calibration with artificial standard solutions and dilutions of mineralized standard rock materials (BHVO-1;SGR-1; CCH-1; DWA).

Units: pmol/kg

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

Estimated Date of Delivery : middle of 2013; need for final density values

# Estimations des erreurs, précision, sensibilité des données / Error estimates, precision and accuracy of the data

Accuracy : 5%

### REFERENCES BIBLIOGRAPHIQUES

Cardinal D., et al., 2005. Variations of carbon remineralisation in the Southern Ocean, illustrated by the Baxs proxy, Deep-Sea Research, I, 52, 355-370.

Jacquet S., 2008. Mesopelagic carbon mineralization in the Kerguelen plateau regiontracked by biogenic particulate Ba, Deep-Sea Research, 55, 868-879.

Jacquet S.H.M., N. Savoye, F. Dehairs, V. Strass and D. Cardinal (2008). Mesopelagic carbon

mineralization during the European Iron Fertilization Experiment (EIFEX). Glob. Biogeochem. Cycles

22, GB1023, doi:10.1029/2006GB002902

F. Dehairs, S.H.M. Jacquet, N. Savoye, B. van Mooy, K. Buesseler, J. Bishop, C. Lamborg, M.

Elskens, W. Baeyens, K. Casciotti and C. Monnin (2008). Barium in twilight zone suspended matter

as proxy for organic carbon mineralization: results for the North Pacific. Deep Sea Res. II, 55,

1673-1683

S.H.M. Jacquet, F. Dehairs, S. Becquevort, I. Dumont, A. Cavagna and D. Cardinal. Twilight zone

organic carbon remireralization in the PFZ and SAZ south of Tasmania (Southern Ocean). Deep Sea Res. II, 58 : 2222-2234