FICHE  META_INFORMATION_PARAMETRES

(à remplir par le responsable du paramètre)

#### ( A renseigner AVANT la mission )

### PARAMETRES CONCERNES

Dissolved and particulate organic matter

56 =  Total organic carbon (TOC)

57 =  Total organic phosphorus (TOP)

58 =  Total organic carbon (TON)

60 =  Dissolved organic phosphorus (DOP)

61 =  Dissolved organic nitrogen (DON)

147 =  Dissolved organic carbon (DOC)

49 =  Particulate organic phosphorus (POP)

131 =  Particulate organic carbon (POC)

134 =  Particulate organic nitrogen (PON)

OPERATION & CAMPAGNE / OPERATION & CAMPAIN

Nom de l’opération 		PROOF-MELISSA

Nom des  campagnes		MELISSA

### PROJET  D’ETUDE / PROJECT TITLE

Stocks et flux de matières : estimation des concentrations en éléments minéraux et matières organiques.

Pools and flux of matter: estimation of inorganic and organic matter. RESPONSABLE SCIENTIFIQUE / PRINCIPAL INVESTIGATOR

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # RAIMBAULT | # COM-UMR 6535 | # 0491829105 | # 0491821991 | # raimbault@com.univ-mrs.fr |

### BREVE DESCRIPTION DU PROJET / BRIEF DESCRIPTION OF PROJECT

- Nutrients concentrations and biomass stocks will be used to characterize the trophic level of the ecosystem during time of investigation.

#### ( A compléter APRES  la mission )

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été mesuré et comment / What did you measure and how did you do it (include references for analytical methods)?

Organic matter

LOB-CNRS Marseille

Collection and storage of samples

Water samples were collected at different depth according to the water mass stratification, generally in, above and below the halocline and the maximum of chlorophyll depth by CTD/rosette casts. Water was transferred from the Niskin bottles with a Teflon tube into 50 ml glass total matter,  immediately poisoned with 1 ml H2SO4 5N and stored at dark until analysis. 1.2l polycarbonate bottles are filled for particulate matter and immediately filtred and 0.2µm teflon membranes.

Analysis

Organic carbon, nitrogen and phosphorus were measured using the wet-oxidation procedure described by Raimbault et al.(1999a et b).

# Stratégie d'échantillonnage / Sampling strategy

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

# Estimations des erreurs, précision, sensibilité des données / Error estimates, precision and accuracy of the data

Dissolved carbon in µmolesC.l-1: detection limit= 5 µmoles.l-1   accuracy = ± 5µmoles.l-1

Dissolved nitrogen in µmolesN.l-1: detection limit= 0.2 µmoles.l-1   accuracy = ± 0.3µmoles.l-1

Dissolved phosphorus in µmolesP.l-1: detection limit= 0.02 µmoles.l-1   accuracy = ± 0.02µmoles.l-1

Particulate carbon in µmolesC.l-1: detection limit= 0.2 µmoles.l-1   accuracy = ± 0.1µmoles.l-1

Particulate nitrogen in µmolesN.l-1: detection limit= 0.05 µmoles.l-1   accuracy = ± 0.05µmoles.l-1

Particulate phosphorus in µmolesP.l-1: detection limit= 0.02 µmoles.l-1   accuracy = ± 0.01µmoles.l-1

### FICHIERS / FILES

# Nom de fichier de données / file name

# Explication des têtes de colonne, des unités et des abréviations utilisées dans le fichier de données / data file structure

| Organic matter Noms et abréviations utilisées |  |
| --- | --- |
| Dissolved organic carbon DOC Dissolved organic nitrogen DON Dissolved organic phosphorus DOP Particulate organic carbon POC Particulate organic nitrogen PON Particulate organic phosphorus POP |  |

### RESULTATS PRELIMINAIRES  / RESULTS

### REFERENCES BIBLIOGRAPHIQUES

Raimbault P., Pouvesle W., Sempéré R., Diaz F, Garcia N, 1999. A simple procedure for simultaneous analysis of total and dissolved organic forms of carbon, nitrogen and phosphorus  in seawater using the wet-oxidation technic. Mar. chem., 66 : 161-169.

Raimbault P., Diaz F., Boudjellal B., 1999 Simultaneous determination of particulate forms of carbon, nitrogen and phosphorus collected on filters using a semi-automatic wet-oxidation procedure. Mar. Ecol. Progr. Ser., 180: 289-295.