FICHE  META_INFORMATION_PARAMETRES

(à remplir par le responsable du paramètre)

#### ( A renseigner PENDANT la mission )

### PARAMETRES CONCERNES

99009: Major and trace elements on suspended particles: SMALL VOLUMES (Supor filter, >0.4 m)

### OPERATION & CAMPAGNE / OPERATION & CAMPAIN

Nom de l’opération: « normal CTD  (label PN) »

Station number-Cast number:  see table below

Analysis of particulate (> 0.4 m) major and trace elements.

Considered elements: Particulate P, Ca, Al, Ba et possibly Mn, Fe (depending on the detection limit)

Nom de la campagne: PANDORA, (R/V Atalante, June 27th-Aug 6th, 2012)

### PROJET  ETUDE / PROJECT TITLE

THE PANDORA CRUISE, JULY 2012: AN INTEGRATED APPROACH OF THE CIRCULATION AND GEOCHEMISTRY IN THE SOLOMON SEA

PIs: Alexandre Ganachaud, Sophie Cravatte, Catherine Jeandel

Chief Scientist: Gérard Eldin

### RESPONSABLE SCIENTIFIQUE / PRINCIPAL INVESTIGATOR

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # Catherine Jeandel | # GEOMAR, LEGOS, Toulouse | # +33.5.61.33.29.33 | # +33.5.61.25.32.05 | # Catherine.Jeandel@legos.obs-mip.fr |

### BREVE DESCRIPTION DU PROJET / BRIEF DESCRIPTION OF PROJECT

When flowing in the South-West Pacific and through the Solomon Sea, water masses undergo dynamical transformations as well as nutrients and micronutrients enrichments when entering in contact with the coasts of the Western Pacific. This impacts the productivity of the Equatorial Pacific Cold Tongue and therefore its climatic role. Trace elements that are injected from this “boundary processes” provide key information on mixing processes. Establishing the distribution of these elements and quantifying these land/ocean inputs is a priority of the international GEOTRACES program. Gaining a better knowledge of water mass transformations and pathways through the South-West Pacific is a priority of SPICE program (South Pacific Circulation and Climate Experiment).

In the frame of SPICE and GEOTRACES, the SOLWARA project focuses on these mechanisms in the Solomon Sea area, one of the key regions for the above mentioned surface and sub-surface water masses. This project includes historical physical and geochemical data analysis, deployment of autonomous observing platforms in the South-West Pacific, modelling, and the PANDORA oceanographic cruise with specific objectives and strategy. PANDORA is labelled as the GP12 GEOTRACES section (www.geotraces.org). The main objectives of the cruise are: to provide a quasi-synoptic description of surface and subsurface circulation in the Solomon Sea and in the straits connecting that sea with the equatorial circulation based on both hydrological and geochemical parameters; to deploy a series of moorings in the straits to obtain the temporal variability of the circulation; to evaluate water masses transformations and mixing; to document water/margins exchanges. The experimental approach will combine physical, chemical and geochemical experiments, which will give access to a wide range of space and time scales of the circulation and biogeochemical processes.

#### ( A compléter APRES  la mission )

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été mesuré et comment / What did you measure and how did you do it (include references for analytical methods)?

Sampling: Seawater for suspended particle measurements was collected from Niskin bottles (10 to 20 L per sample) and immediately filtered through 0.4µm pore size SUPOR membranes (47 mm, PVC filter holders) using polycarbonate cylinders under pressured clean air. Filters were immediately stored in small Petri boxes.

In the laboratory (to be modified later), filters were introduced in 300 ml PFA vials and leached in two phases. In the first step, HCl 6M and HNO3 15M were added and the vials placed in a hot plate for 90 min at 130ºC. After a 45 min cooling, 0,5 ml of HF 23M were included in the vial, which was placed again in the hot plate for additional 45 min at 130ºC (modified after Tachikawa et al., 1999; Labatut, 2012). When at ambient temperature, the filter was removed, the solution evaporated in a smaller vial and a final re-dissolution was carried out in HNO3 0.32M for ICP-MS analysis.

# Stratégie d'échantillonnage / Sampling strategy

Seawater samples were taken at the depths of the following stations (NF means non filtered: the filter doesn’t exist).

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

Ancillary parameters and dissolved concentrations of some tracers

Public access will be open after acceptance of the paper in preparation.

# Estimations des erreurs, précision, sensibilité des données / Error estimates, precision and accuracy of the data

### FICHIERS / FILES

# Nom de fichier de données / file name

The file “XXX” reports

# Explication des têtes de colonne, des unités et des abréviations utilisées dans le fichier de données / data file structure

### RESULTATS PRELIMINAIRES  / RESULTS

### REFERENCES BIBLIOGRAPHIQUES

Labatut, M., 2012. PhD Thesis, LEGOS, Toulouse.

Tachikawa K., Jeandel C. and Roy-Barman M., 1999. A new approach to the Nd residence time in the ocean: the role of atmospheric inputs. Earth Planet. Sci. Lett. 170, 433-446.