FICHE  META_INFORMATION_PARAMETRES

(à remplir par le responsable du paramètre)

N. Metzl, revision document transmis par C.Jeandel, 4/8/2012

#### ( A renseigner PENDANT la mission )

### PARAMETRES CONCERNES / Parameters

Dissolved Inorganic Carbon (DIC) and Total Alkalinity (TA or ALK)

### OPERATION & CAMPAGNE & PIs / OPERATION & CAMPAIN&PIs

Nom de l’opération (moyen de prélèvement): « normal CTD  (label PN) »

Station number-Cast number:  see the table below

Nom de la campagne: PANDORA, (R/V Atalante, June 27th-Aug 6th, 2012)

### PROJET  ETUDE / PROJECT TITLE

THE PANDORA CRUISE, JULY 2012: AN INTEGRATED APPROACH OF THE CIRCULATION AND GEOCHEMISTRY IN THE SOLOMON SEA

PIs: Alexandre Ganachaud, Sophie Cravatte, Catherine Jeandel

Chief Scientist: Gérard Eldin (gerard.eldin@legos.obs-mip.fr)

All at LEGOS, Observatoire Midi-Pyrénées, Toulouse, Fr and IRD Center, Nouméa, NC

### RESPONSABLE SCIENTIFIQUE du paramètre / PI of the parameter

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| Metzl Nicolas | # LOCEAN, Paris | # 33.1.44.27.33.94 | # 33.1.44.27.49.93 | # Nicolas.Metzl@locean-ipsl.upmc.fr |

### BREVE DESCRIPTION DU PROJET / BRIEF DESCRIPTION OF PROJECT

When flowing in the South-West Pacific and through the Solomon Sea, water masses undergo dynamical transformations as well as nutrients and micronutrients enrichments when entering in contact with the coasts of the Western Pacific. This impacts the productivity of the Equatorial Pacific Cold Tongue and therefore its climatic role. Trace elements that are injected from this “boundary processes” provide key information on mixing processes. Establishing the distribution of these elements and quantifying these land/ocean inputs is a priority of the international GEOTRACES program. Gaining a better knowledge of water mass transformations and pathways through the South-West Pacific is a priority of SPICE program (South Pacific Circulation and Climate Experiment).

In the frame of SPICE and GEOTRACES, the SOLWARA project focuses on these mechanisms in the Solomon Sea area, one of the key regions for the above mentioned surface and sub-surface water masses. This project includes historical physical and geochemical data analysis, deployment of autonomous observing platforms in the South-West Pacific, modelling, and the PANDORA oceanographic cruise with specific objectives and strategy. PANDORA is labelled as the GP12 GEOTRACES section (www.geotraces.org). The main objectives of the cruise are: to provide a quasi-synoptic description of surface and subsurface circulation in the Solomon Sea and in the straits connecting that sea with the equatorial circulation based on both hydrological and geochemical parameters; to deploy a series of moorings in the straits to obtain the temporal variability of the circulation; to evaluate water masses transformations and mixing; to document water/margins exchanges. The experimental approach will combine physical, chemical and geochemical experiments, which will give access to a wide range of space and time scales of the circulation and biogeochemical processes.

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été collecté, mesuré et comment / How was the parameter collected and measured (include references for analytical methods)?

Sampling: Volumes of 0.5 l of seawater were directly collected on the 12l Niskin bottles of the “regular rosette” (contrasting with the clean sampling system, named “go-flo rosette”). Special care was taken to avoid any bubbles in the bottles. Samples were immediately poisoned with 300 µl saturated HgCl2, sealed and kept in a cool room.

Analytical procedure (briefly, could be a short recall to a published reference):

The samples will be measured back at laboratory LOCEAN/IPSL (Service SNAPO-CO2). DIC and TA are both obtained using a potentiometric titration using a closed cell (e.g. Corbière et al., 2007). For calibration, we use Certified Reference Material (CRM) provided by Prof A. Dickson (Scripps Institution of Oceanography, San Diego, USA). The accuracy of DIC and TA are estimated to be around 2 µmol/kg.

Synthèse échantillons collectés / Compilation of the collected samples (add a map of the cruise if possible)

Seawater samples were taken at the depths of the following stations:

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

Ancillary hydrographical parameters, other tracer measurements

Public access will be open after acceptance of the paper in preparation.

# Estimations des erreurs, précision, sensibilité des données / Error estimates, precision and accuracy of the data

To be modified laterFICHIERS / FILES

# Nom de fichier de données / file name

The file “XXXX” reports the

# Explication des têtes de colonne, des unités et des abréviations utilisées dans le fichier de données / data file structure

Longitudes and latitudes are given as decimal numbers.

### REFERENCES BIBLIOGRAPHIQUES

Corbière, A., N. Metzl, G. Reverdin, C. Brunet and T. Takahashi, 2007. Interannual and decadal variability of the oceanic carbon sink in the North Atlantic subpolar gyre. Tellus B, Vol. 59, issue 2,  168-179, doi:10.1111/j.1600-0889.2006.00232