FICHE  META_INFORMATION_PARAMETRES

(à remplir par le responsable du paramètre)

#### ( A renseigner AVANT la mission )

### PARAMETRES CONCERNES

Nitrogen  regeneration

172  - NH4 regeneration

174  - Nitrification  - regeneration

### OPERATION & CAMPAGNE / OPERATION & CAMPAIN

Nom de l’opération 		PROOF-PECHE

Nom des  campagnes		PROPECHE 1 & 2

### PROJET  D’ETUDE / PROJECT TITLE

Stocks et flux de matières : estimation des concentrations en éléments minéraux et matières organiques. Quantification des taux d’assimilation du carbone et de l’azote inorganique et des taux de régénération de l’azote

Pools and flux of matter: estimation of inorganic and organic matter. Quantification of carbon assimilation and nitrogen uptake and regeneration

### RESPONSABLE SCIENTIFIQUE / PRINCIPAL INVESTIGATOR

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # RAIMBAULT | # COM-UMR 6535 | # 0491829105 | # 0491821991 | # raimbault@com.univ-mrs.fr |

### BREVE DESCRIPTION DU PROJET / BRIEF DESCRIPTION OF PROJECT

- Nutrients concentrations and biomass stocks will be used to characterize the trophic level of the ecosystem during time of investigation.

- The  role of primary producers will be specifically addressed by the dual isotopic 15N/13C method to quantify the rates of primary production and the different ways of inorganic nitrogen

#### ( A compléter APRES  la mission )

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été mesuré et comment / What did you measure and how did you do it (include references for analytical methods)?

Inorganic nitrogen assimilation and regeneration

LOB-CNRS Marseille

Collection and incubation of samples

Six water samples were collected at different depth between surface and 80 m depth. Water was transferred from the Niskin bottles with a Teflon tube into three 600 ml polycarbonate bottles. After addition of 13C tracer (H13CO3 mg.l-1), samples were spiked with inorganic nitrogen labelled with 15N. One sample was spiked with 100µl of 15N-NH4 (1µmole.ml-1), a second with 50µl of 15N-NO3 (1µmole.ml-1); the third sample was spiked with 1 ml of 15N2 gaz. After tracer addition, samples were placed into different plastic boxes covered by a nickel screen simulating different light intensity corresponding to the depths of sampling. Temperature in incubators was maintained by continuous circulation of surface water. Incubation was stopped at sunset and samples were immediately filtered on Whatman GF/F filters (25 mm in diameter) precombusted at 450°C. Filters were dried at 60°C during12 hours and stored dry until mass-spectrometer analysis. Filtrates were poisoned with 1 ml HgCl2 (6g.l-1) and stored until analysis

Analysis

Filtrates were treated as proposed by Slawyk and Raimbault (1995) and Raimbault et al. (1999) to quantify ammonium regeneration, nitrification and dissolved organic nitrogen release.15N enrichment were measured on a TracerMass  mass-spectrometer

# Stratégie d'échantillonnage / Sampling strategy

Only one profile per cruise at 6 depths: surface-10 m, 20 m 30 m, 40 m, 60 m and 80 m.

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

Data sent

# Estimations des erreurs, précision, sensibilité des données / Error estimates, precision and accuracy of the data

Ammonium regeneration in nmolesN.l-1 .d-1:   		accuracy = ± 0.5 nmolesN.l-1 .d-1

Nitrification in nmolesN.l-1 .d-1:   				accuracy = ± 0.5 nmolesN.l-1 .d-1

Dissolved organic nitrogen  release in nmolesN.l-1 .d-1:   	accuracy = ± 1 nmolesN.l-1 .d-1

### FICHIERS / FILES

# Nom de fichier de données / file name

# Explication des têtes de colonne, des unités et des abréviations utilisées dans le fichier de données / data file structure

| Inorganic nitrogen assimilation Noms et abréviations utilisées |  |
| --- | --- |
| Ammonium regeneration r nitrification r Dissolved organic nitrogen release DONloss |  |

### RESULTATS PRELIMINAIRES  / RESULTS

### REFERENCES BIBLIOGRAPHIQUES

Slawyk G., Raimbault P.,1995. A simple procedure for the simultaneous recovery of dissolved inorganic and organic nitrogen in 15N-tracer experiments on oceanic waters improving the mass balance. Mar. Ecol. Prog. Ser.,124: 289-299

Raimbault P., Slawyk G., Boudjellal B., Coatanoan C., Conan P., Coste B., Garcia N., Moutin T., Pujo-Pay M., 1999. Biomass, new production and export in the equatorial Pacific at 150°W: Evidence for intense nitrogen recycling. J. Geophys. Res. 104, 3341-3356.

Raimbault P., Slawyk G., Garcia N, 2000. Comparison between chemical and isotopic measurements of biological nitrate utilization: further evidence of low new production levels in the equatorial Pacific. Mar. biol., 136 :1147-115

Slawyk G., Raimbault P, Garcia N., 2000. Use of 15N to measure dissolved organic nitrogen release by marine phytoplankton (reply to comment by Bronk and ward). Limnol. Oceanogr., 45 :1884-1886.